For TENMA to act as the UV LED array

27.636V is taken from the TENMA display when PCB is powered.

Set CR to 79 ohms for 350mA norminal

Set CR to 110 ohms for 250mA norminal